# **UrDirary**

# Risk Management plan - Controlled doucment

**References:**

* ISO14971 - Medical devices - Application of risk management to medical devices
* ISO/TR 24971 - Medical devices - Guidance on the application of ISO 14971
* IEC 62304:2006 - Medical Device Software - Software life cycle processes

**Disclaimer:** This document, and the technologies it describes, is the property of Aalborg University. This document shall not be reproduced or used without explicit permission of an authorized company official.

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision Control** | | | |
| Revision | Revised by | Revision date | Change Description |
| 0.1 | Ellen Ritterbusch | 21/03/2024 | First Version of risk management plan |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

Authorized by: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# Purpose

The purpose of this document is to form a plan for the risk management of the application “name”. The risk management will contribute to safety requirements for “name”. The safety requirements will along with other relevant regulatory requirements and system requirements form the foundation of the implementation of “name”.

The scope of this risk management is to identify possible hazards associated with the use of “name”. This includes usability specific risks and software specific risks. The hazards will be evaluated and controlled.

# Methodologies

The risk management will comply with the relevant points from ISO 14971:2019. We are intended to follow the steps described below. A plan of six steps have been formed and will be followed. A description of the six steps can be found under the section “Description of each step”. This plan and the report will not be centered around marked implementation, post-marked evaluation, and control due to time constraints.

|  |  |
| --- | --- |
| **Step nr.** | **Steps in plan** |
| 1 | Intended purpose and device description |
| 2 | Identifying hazards and hazardous situations |
| 3 | Risk evaluation |
| 4 | Risk control |
| 5 | Evaluation of overall residual risk |
| 6 | Risk management review |

The steps are formed based on figure 1 in ISO 14971

## Criteria for risk acceptability

Risk factor will be assessed in severity and occurrence of harm from 1-5.

|  |  |  |
| --- | --- | --- |
| **Value** | **Occurrence** | **Description** |
| 1 | Very unlikely | The hazardous situation will never occur but are theoretical possible |
| 2 | Unlikely | The hazardous situation is not likely to occur, but may happen over the lifetime of the system |
| 3 | Possible | The hazardous situation is likely to occur at least one time over the lifetime of the system |
| 4 | Likely | The hazardous situation is likely to happen multiple times over the lifetime of the system |
| 5 | Very likely | The hazardous situation is likely to occur on almost or every use |

|  |  |  |
| --- | --- | --- |
| **Value** | **Severity** | **Description** |
| 1 | Insignificant | The harm is negligible and will only in worst case lead to inconvenience and/or an unpleasant environment for the patient |
| 2 | Minor | The harm result in temporary injuries not requiring medical treatment |
| 3 | Moderate | The harm result in temporary injury requiring medical treatment |
| 4 | Major | The harm result in permanent injury and require medical treatment |
| 5 | Catastrophic | The harm is death or serious injury, and the patient will need medical help to survive |

The risk factor will be calculated by multiplying occurrence and severity factor.

The acceptable risk factor is 6, represented with green. Risk factors between 8 and 12 are acceptable with mitigation. This is visualized with yellow. Risk factors between 15-25 are not acceptable.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | **Severity** | | | | | |
| **Occurrence** |  | 1 | 2 | 3 | 4 | 5 |
| 5 | 5 | 10 | 15 | 20 | 25 |
| 4 | 4 | 8 | 12 | 16 | 20 |
| 3 | 3 | 6 | 9 | 12 | 15 |
| 2 | 2 | 4 | 6 | 8 | 10 |
| 1 | 1 | 2 | 3 | 4 | 5 |

# Activities for verification

The verification of the implementation of risk control mitigations will be conducted in the system testing documented in the project report.

# Description of steps in the Risk Management Plan

## Intended purpose and device description

Start by describing the intended purpose of the medical device or refer to appropriate documentation. If any, reasonably foreseeable misuse must also be documented. The medical device must be classified according to MDR 2017/745 and if the device contains software components, these must be classified according to IEC 62304:2006. The classification must be documented in the project report

## Identifying hazards and hazardous situation

Use table C.1 from Annex C.2 in ISO 14971:2019 to identify hazards. The identified hazards must be documented in the risk management report. For every identified hazard a table as shown below must be filled out.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Hazard | Cause of hazardous situation | Sequence of events | Hazardous situation | Harm |
|  |  |  |  |  |

## Risk evaluation

## Risk control