# **UrDiary**

# Test Report 1 - Controlled document

**References:**

* This report contains the results of tests carried out in accordance with VeTP1 version 1.1

**Disclaimer:** This document, and the technologies it describes, are the property of Aalborg University. This document shall not be reproduced or used without explicit permission of an authorized company official.

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision Control** | | | |
| Revision | Revised by | Revision date | Change Description |
| 1.0 | Ellen Ritterbusch | 15/05/2024 | First version |
|  |  |  |  |
|  |  |  |  |

## Input/Output Values

|  |  |  |  |
| --- | --- | --- | --- |
| Input | Expected Output | Actual Output | Value match |
| Stimulation: On-demand  Time: 10:16 | **Time displayed:** 10:16 | x | Χ |
| Stimulation: On-demand  Time: 10:22 | **Time displayed:** 10:22 | x | Χ |

## Summary of Tests

The test were not performed due to Bluetooth communication have not been implemented. Therefore are both system requirements SR1 and SR1a also failed.

|  |  |  |
| --- | --- | --- |
| **ID** | **System requirement** | **Pass/fail** |
| SR1 | The system must allow the user to create a bladder diary for each on-demand stimulation | Χ |
| SR1a | The system must automatically create a timestamp for each on-demand stimulation using the current time | Χ |