## Revision Control
Revision Control
Revision | Revised by | Revision date | Change Description
0.1 | Maja Husum | 2024-04-04 | First Version of risk analysis
0.2 | Maja Husum | 2024-04-05 | Second Version of risk analysis

## Usability Risk
Hazard ID# | Hazard | Cause of hazardous situation | Sequence of events | Hazardous situation | Harm | Object at risk |  |  | Risk estimate |  |  | Risk Mitigation | Residual risk estimate |  |  | Is risk acceptable? | New hazards or hazardous situations?
[6 empty] | Patient | Operator | Equipment | O1 | S1 | RF1 |  | O2 | S2 | RF2
UR1 | Critical performance | User enters erroneous data in the form of date | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 3 | 2 | 6
UR2 | Critical performance | User enters erroneous data in the form of timestamp | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 4 | 2 | 8 | A. On-demand stimulation timestamps shall be saved in the database. The system allow the user to choose a saved timestamp when tracking accidents B. The system shall not allow the user to register multiple accidents for the same timestamp | 3 | 2 | 6 | Yes | Yes See UR13
UR3 | Critical performance | User enters erroneous data in the form of daily evaluation | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 2 | 2 | 4
UR4 | Critical performance | User enters erroneous data in the form of tracking accident or no accident | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 4 | 2 | 8 | A. The system shall display every tracked entry for the belonging date B. The system shall allow the user to edit or delete every tracked entry | 3 | 2 | 6 | Yes | Yes See UR14
UR5 | Critical performance | User misinterprets the functionality of the daily evaluation | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 2 | 2 | 4
UR6 | Critical performance | User enters erroneous data for previous days, in the form of daily evaluation, due to missing daily evaluation | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 4 | 2 | 8 | A. User shall be informed not to evaluate for previous days, if the user does not have any memory of the day B. The information shall occur in the app, when setting it up for the first time | 3 | 2 | 6 | Yes | Yes See UR15
UR7 | Critical performance | User enters erroneous data for previous timestamp, in the form of tracking accident or no accident | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 5 | 2 | 10 | See mitigation for UR4 and UR6 | 3 | 2 | 6 | Yes | None
UR8 | Data access | User is technically incompetent | 1. The user is unable to connect Ucon to their mobile phone | Data from UCon is unavailable | Negligible | x |  |  | 3 | 1 | 3
UR9 | Alarm | User turns notifications off | 1. The user is not receiving notifications 2. The user is not reminded to use the system | The user aborts the use of the system | Negligible | x |  |  | 3 | 1 | 3
UR10 | Alarm | User enters erroneous user defined notification settings | 1. The user receives an erroneous notification | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 3 | 2 | 6
UR11 | Data access | User enters invalid login information | 1. The user is unable to use the system | Data from UCon is unavailable | Negligible | x |  |  | 4 | 1 | 4
UR12 | Data access | User forgets login information | 1. The user is unable to use the system | Data from UCon is unavailable | Negligible | x |  |  | 4 | 1 | 4
UR13 | Critical performance | User chooses an incorrect saved timestamp for on-demand stimulation | 1. Erroneous data is visualized 2. The user interprets the visualized data 3. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 3 | 2 | 6
UR14 | Critical performance | User accidently deletes tracked entry | 1. Less data is accessible | The visualized data is less accurate | Negligible | x |  |  | 3 | 1 | 3
UR15 | Critical performance | User is impatient | 1. App is opened for the first time 2. The system displays introduction 3. User skips introduction | User is uninformed | Erroneous treatment | x |  |  | 3 | 2 | 6

## Software Risk
Hazard ID# | Hazard | Cause of hazardous situation | Sequence of events | Hazardous situation | Harm | Object at risk |  |  | Risk estimate |  |  | Risk Mitigation | Residual risk estimate |  |  | Is risk acceptable? | New hazards or hazardous situations?
[6 empty] | Patient | Operator | Equipment | O1 | S1 | RF1 |  | O2 | S2 | RF2
SWR1 | Alarm | The system sends the user too many notifications | 1. The user has turned all notifications on | User is over-stimulated | Negligible | x |  |  | 4 | 1 | 4
SWR2 | Alarm | The system is incompatible with the operating system | 1. The system sends the user illegible notifications | User is not informed | Negligible | x |  |  | 4 | 1 | 4
SWR3 | Alarm | The system sends the user unwanted notifications | 1. The user has turned all notifications off 2. The system does not register the disabled notifications | User is misinformed | Negligible | x |  |  | 2 | 1 | 2
SWR4 | Alarm | The system does not send the user notifications | 1. The user has turned all notifications on 2. The system does not register the enabled notifications | User is not informed | Erroneous treatment | x |  |  | 2 | 2 | 4
SWR5 | Data integrity | The system is incompatible with the users mobile phone | 1. The system retrieves an incorrect date 2. The system displays an incorrect date | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 2 | 2 | 4
SWR6 | Data integrity | The database saves a daily evaluation entry incorrectly | 1. The system displays incorrectly saved data 2. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 1 | 2 | 2
SWR7 | Data integrity | The database overwrites previous daily evaluations | 1. The system displays incorrectly saved data 2. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 1 | 2 | 2
SWR8 | Data access | The system is unable to connect to the database | 1. The system can not visualize data | Data from the database is unavailable | Negligible | x |  |  | 2 | 1 | 2
SWR9 | Data availability | There is no available storage on the mobile phone for the database | 1. The system cannot store entered data | The system is unusable | Negligible | x |  |  | 1 | 1 | 1
SWR10 | Data access | The bluetooth connection is attacked by a malicious source | 1. The malicious source can monitor stimulation data | Sensitive data is accessed | Data breach | x |  |  | 1 | 1 | 1
SWR11 | Data access | The system is unable to connect to UCon | 1. The Ucon is out of range | Data from UCon is unavailable | Negligible | x |  |  | 2 | 1 | 2
SWR12 | Data access | The system is unable to connect to UCon | 1. The Ucon is turned off | Data from UCon is unavailable | Negligible | x |  |  | 4 | 1 | 4
SWR13 | Data integrity | The system erroneously reads services from Ucon | 1. The system visualizes data incorrectly 2. The user acts on the basis of the visualized data | The user receives erroneous stimulation | Erroneous treatment | x |  |  | 1 | 2 | 2
SWR14 | Data integrity | The system erroneously writes services to UCon | 1. The system receives unexpected data | The system does not receive requested information | Negligible | x |  |  | 1 | 1 | 1
SWR15 | Data transfer | Packet loss in the Bluetooth connection | 1. The system query data from Ucon 2. Data is lost | The system does not receive requested data | Negligible | x |  |  | 2 | 1 | 2
SWR16 | Data integrity | The system is incompatible with the users mobile phone | 1. The system cannot open links to guides | The user does not have access to guides via the system | Negligible | x |  |  | 2 | 1 | 2